## Sheet9
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 2:05:35 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 2:05:35 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 46066 | 4437 | 50767 | 48917 | 49658 | 49391 | 47852 | 49114 | 51419 | 49663 | 48095 | 45124 | 41618 | 41102 | 38199 | 38452 | 41853 | 45829
B3 | 45004 | 4372 | 48534 | 48856 | 48033 | 49195 | 48449 | 46103 | 49963 | 50331 | 46520 | 42138 | 40498 | 41443 | 38274 | 37977 | 39778 | 43970
B4 | 44030 | 4291 | 47694 | 48167 | 48072 | 48299 | 47232 | 45740 | 47810 | 49812 | 43965 | 40501 | 40377 | 41323 | 38535 | 37412 | 37932 | 41611
End Time: | 5/14/2024 2:06:15 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet10
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 2:08:12 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 2:08:12 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 46038 | 4382 | 50887 | 49477 | 49937 | 49443 | 47398 | 48667 | 51142 | 49452 | 47616 | 45384 | 41670 | 41072 | 38385 | 38375 | 42123 | 45585
B3 | 45515 | 3914 | 48439 | 49082 | 48444 | 48273 | 45004 | 49519 | 49867 | 48290 | 46856 | 46166 | 41898 | 40044 | 37996 | 38905 | 43556 | 45901
B4 | 44823 | 4202 | 48284 | 48878 | 48067 | 47965 | 45979 | 46379 | 50799 | 48761 | 46810 | 43765 | 40331 | 40355 | 38129 | 37681 | 40345 | 44640
End Time: | 5/14/2024 2:08:52 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet8
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 2:01:58 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 2:01:58 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
20
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 47667 | 4530 | 50710 | 51326 | 52270 | 51248 | 49125 | 51617 | 53228 | 51505 | 49572 | 47145 | 43513 | 42953 | 40337 | 39850 | 42626 | 45645
B3 | 45225 | 4151 | 48396 | 49084 | 48798 | 48391 | 44839 | 48928 | 49903 | 48154 | 47093 | 45543 | 41265 | 40018 | 36975 | 38635 | 42298 | 45278
B4 | 43878 | 4192 | 46521 | 47741 | 47118 | 47307 | 44824 | 45479 | 49982 | 48741 | 45925 | 41987 | 38713 | 40126 | 37306 | 37085 | 39762 | 43431
End Time: | 5/14/2024 2:02:38 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet7
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 1:58:50 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 1:58:50 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 48267 | 4197 | 52239 | 51161 | 51831 | 51938 | 50164 | 51758 | 53025 | 51486 | 49443 | 47357 | 43967 | 43867 | 40710 | 40918 | 44551 | 47855
B3 | 47265 | 3993 | 49711 | 51223 | 50508 | 49455 | 47221 | 51395 | 51636 | 51016 | 48982 | 46811 | 43695 | 42469 | 38969 | 41162 | 44629 | 47362
B4 | 45851 | 4413 | 50202 | 48906 | 49464 | 49288 | 47197 | 47625 | 51838 | 51178 | 47383 | 43242 | 41328 | 41348 | 38866 | 38472 | 41781 | 45496
End Time: | 5/14/2024 1:59:30 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet6
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 1:55:52 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 1:55:52 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 48471 | 4362 | 52551 | 51456 | 52574 | 52191 | 50122 | 51479 | 54162 | 51417 | 49824 | 47623 | 43960 | 43555 | 40664 | 40903 | 45199 | 47852
B3 | 47418 | 4155 | 50940 | 50982 | 50539 | 50456 | 46751 | 51188 | 52378 | 50309 | 49727 | 47230 | 43933 | 41691 | 39668 | 40355 | 44802 | 47746
B4 | 46831 | 4314 | 49523 | 50082 | 50336 | 50873 | 49386 | 48704 | 52877 | 50801 | 48396 | 45409 | 41806 | 42899 | 39614 | 39208 | 42974 | 46414
End Time: | 5/14/2024 1:56:32 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet5
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 1:53:10 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 1:53:10 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
5
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 48411 | 4618 | 53555 | 51522 | 52413 | 52221 | 50045 | 51418 | 53326 | 52486 | 50294 | 48290 | 43504 | 43310 | 40241 | 40801 | 43803 | 47341
B3 | 47638 | 4221 | 50724 | 51336 | 51050 | 50805 | 46985 | 51637 | 52082 | 51130 | 50025 | 47846 | 43778 | 41518 | 39494 | 41169 | 44867 | 47760
B4 | 46946 | 4509 | 50761 | 51181 | 49773 | 51115 | 48929 | 48876 | 52283 | 51150 | 48935 | 45874 | 42631 | 43074 | 38326 | 39184 | 42483 | 46567
End Time: | 5/14/2024 1:53:50 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 1:48:46 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 1:48:46 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
0
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 48302 | 4478 | 52645 | 51111 | 51802 | 51362 | 50001 | 51583 | 53186 | 52359 | 50820 | 48405 | 43945 | 43139 | 39909 | 40569 | 44317 | 47675
B3 | 46911 | 4336 | 50808 | 50965 | 50569 | 50556 | 50176 | 47874 | 52176 | 51529 | 48006 | 44348 | 42608 | 43215 | 40192 | 39751 | 41828 | 45977
B4 | 46815 | 4237 | 50565 | 50106 | 50225 | 50283 | 48772 | 48856 | 52208 | 51120 | 48582 | 45402 | 41847 | 42263 | 40118 | 39765 | 42342 | 46588
End Time: | 5/14/2024 1:49:27 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 1:45:50 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 1:45:50 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(7)>3"
-5
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 49055 | 4445 | 53545 | 52116 | 52863 | 52632 | 51122 | 52381 | 53719 | 52800 | 50714 | 48761 | 44669 | 44077 | 40823 | 41428 | 45244 | 47989
B3 | 48213 | 4065 | 50829 | 51757 | 51468 | 51027 | 47743 | 52382 | 52665 | 51713 | 49741 | 48535 | 44279 | 42832 | 40083 | 41714 | 45997 | 48640
B4 | 47438 | 4373 | 50603 | 51803 | 50523 | 51207 | 49308 | 49488 | 53018 | 51467 | 49150 | 46534 | 42105 | 43205 | 40389 | 39646 | 43139 | 47426
End Time: | 5/14/2024 1:46:30 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-14
Time: | 1:43:14 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 108 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-B4
Start Time: | 5/14/2024 1:43:14 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: X-Trans at module MTP lost steps abs(136)>3"
-10
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B2 | 46012 | 4688 | 53111 | 51497 | 51090 | 49946 | 43623 | 45650 | 48872 | 50389 | 48854 | 45091 | 41285 | 40225 | 38838 | 39478 | 42046 | 46191
B3 | 45709 | 4527 | 49718 | 51024 | 50563 | 50157 | 42904 | 45329 | 49582 | 49984 | 48167 | 46375 | 41776 | 39198 | 37713 | 39169 | 43125 | 46555
B4 | 44278 | 4494 | 49593 | 49615 | 49344 | 49614 | 42606 | 43141 | 46664 | 50113 | 46377 | 42771 | 39527 | 39417 | 38075 | 38098 | 40025 | 43475
End Time: | 5/14/2024 1:43:54 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)