## Sheet6
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 710005431 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-04-30
Time: | 3:49:49 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 535 | nm
Excitation Bandwidth |  |  |  | 20 | nm
Emission Bandwidth |  |  |  | 25 | nm
Gain |  |  |  | 55 | Calculated From: B1 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B1-B12
Start Time: | 4/30/2024 3:49:58 PM
Temperature: 21.9 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B1 | 36764 | 5279 | 32371 | 32943 | 31303 | 27228 | 31614 | 36836 | 40121 | 40812 | 44064 | 43770 | 39700 | 33909 | 31585 | 37320 | 41576 | 43066
B2 | 20485 | 3205 | 17300 | 17691 | 16817 | 14803 | 17592 | 20294 | 22031 | 22060 | 24753 | 24731 | 22577 | 19103 | 18116 | 21490 | 23831 | 24579
B3 | 18319 | 2905 | 15698 | 16073 | 15327 | 13358 | 15340 | 18038 | 19832 | 20266 | 22610 | 21954 | 19707 | 16554 | 16020 | 18873 | 21224 | 22236
B4 | 12200 | 2036 | 10094 | 10331 | 9956 | 8630 | 10255 | 11944 | 12963 | 13047 | 14993 | 14800 | 13396 | 11321 | 11004 | 13090 | 14606 | 14763
B5 | 7148 | 1255 | 5593 | 5868 | 5681 | 4991 | 6102 | 7047 | 7453 | 7310 | 8731 | 8784 | 8003 | 6871 | 6692 | 7825 | 8699 | 8717
B6 | 2924 | 508 | 2295 | 2391 | 2325 | 2053 | 2531 | 2868 | 3018 | 2982 | 3582 | 3584 | 3257 | 2839 | 2742 | 3195 | 3540 | 3581
B7 | 644 | 112 | 491 | 534 | 525 | 453 | 551 | 634 | 666 | 634 | 778 | 790 | 725 | 617 | 611 | 718 | 782 | 791
B8 | 221 | 42 | 170 | 179 | 171 | 152 | 186 | 212 | 222 | 215 | 271 | 275 | 251 | 215 | 219 | 256 | 275 | 275
B9 | 79 | 15 | 61 | 63 | 61 | 55 | 67 | 75 | 77 | 74 | 94 | 96 | 90 | 76 | 80 | 94 | 100 | 99
B10 | 28 | 4 | 25 | 25 | 24 | 21 | 25 | 27 | 27 | 27 | 33 | 33 | 31 | 26 | 30 | 31 | 34 | 35
B11 | 14 | 1 | 12 | 12 | 13 | 12 | 15 | 15 | 15 | 14 | 16 | 15 | 15 | 15 | 15 | 16 | 16 | 16
B12 | 9 | 1 | 10 | 9 | 9 | 10 | 9 | 9 | 8 | 9 | 8 | 7 | 8 | 8 | 8 | 7 | 9 | 9
End Time: | 4/30/2024 3:52:13 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) FIL, V_2.00_04/06_FILTER (Apr 5 2006/11.37.11)

## Sheet5
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 710005431 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-04-30
Time: | 3:43:32 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 535 | nm
Excitation Bandwidth |  |  |  | 20 | nm
Emission Bandwidth |  |  |  | 25 | nm
Gain |  |  |  | 55 | Calculated From: B1 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B1-B12
Start Time: | 4/30/2024 3:43:39 PM
Temperature: 21.8 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B1 | 36191 | 5291 | 31764 | 32305 | 30443 | 26490 | 31145 | 36191 | 39565 | 40355 | 43438 | 43084 | 39098 | 33415 | 31372 | 36845 | 40848 | 42697
B2 | 20261 | 3243 | 17160 | 17534 | 16548 | 14341 | 17311 | 20033 | 21841 | 21956 | 24356 | 24470 | 22307 | 18817 | 17901 | 21329 | 23789 | 24483
B3 | 18154 | 2904 | 15372 | 15961 | 15125 | 13154 | 15327 | 17885 | 19596 | 20056 | 22437 | 21841 | 19410 | 16467 | 15948 | 18671 | 21017 | 22198
B4 | 12090 | 2043 | 9946 | 10260 | 9729 | 8466 | 10165 | 11835 | 12856 | 13017 | 14878 | 14643 | 13213 | 11274 | 10999 | 12983 | 14439 | 14741
B5 | 7057 | 1241 | 5494 | 5803 | 5571 | 4922 | 6043 | 6944 | 7350 | 7251 | 8624 | 8686 | 7915 | 6788 | 6641 | 7743 | 8544 | 8596
B6 | 2875 | 508 | 2247 | 2349 | 2261 | 1992 | 2505 | 2793 | 2974 | 2924 | 3544 | 3492 | 3189 | 2804 | 2716 | 3155 | 3506 | 3544
B7 | 632 | 112 | 477 | 520 | 511 | 443 | 537 | 621 | 652 | 626 | 769 | 775 | 712 | 609 | 604 | 708 | 772 | 774
B8 | 218 | 42 | 165 | 173 | 169 | 148 | 182 | 209 | 220 | 214 | 267 | 269 | 247 | 211 | 217 | 253 | 274 | 272
B9 | 77 | 15 | 59 | 61 | 60 | 53 | 67 | 71 | 75 | 74 | 90 | 93 | 88 | 75 | 79 | 94 | 97 | 96
B10 | 28 | 4 | 23 | 24 | 24 | 20 | 25 | 26 | 27 | 27 | 32 | 32 | 30 | 27 | 27 | 30 | 33 | 33
B11 | 14 | 1 | 12 | 13 | 13 | 13 | 14 | 14 | 14 | 12 | 15 | 15 | 16 | 14 | 15 | 15 | 16 | 15
B12 | 8 | 1 | 8 | 10 | 9 | 9 | 10 | 9 | 8 | 8 | 7 | 7 | 9 | 8 | 9 | 8 | 8 | 7
End Time: | 4/30/2024 3:45:55 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) FIL, V_2.00_04/06_FILTER (Apr 5 2006/11.37.11)

## Sheet4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 710005431 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-04-30
Time: | 3:40:48 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 535 | nm
Excitation Bandwidth |  |  |  | 20 | nm
Emission Bandwidth |  |  |  | 25 | nm
Gain |  |  |  | 55 | Calculated From: B1 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B1-B12
Start Time: | 4/30/2024 3:40:55 PM
Temperature: 21.7 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B1 | 35023 | 5154 | 31051 | 31575 | 29691 | 25723 | 30001 | 34991 | 38594 | 39460 | 41996 | 41537 | 37675 | 31865 | 29768 | 35363 | 39678 | 41400
B2 | 19450 | 3041 | 16640 | 17003 | 16010 | 13956 | 16524 | 19232 | 21103 | 21359 | 23365 | 23328 | 21385 | 17957 | 17154 | 20165 | 22581 | 23435
B3 | 17462 | 2826 | 14961 | 15437 | 14581 | 12623 | 14559 | 17264 | 19064 | 19434 | 21651 | 20807 | 18640 | 15696 | 15109 | 17868 | 20190 | 21512
B4 | 11653 | 1974 | 9690 | 9930 | 9352 | 8155 | 9723 | 11475 | 12591 | 12540 | 14402 | 14083 | 12654 | 10822 | 10496 | 12435 | 13853 | 14242
B5 | 6795 | 1207 | 5368 | 5583 | 5346 | 4675 | 5790 | 6701 | 7154 | 7053 | 8361 | 8276 | 7599 | 6508 | 6308 | 7393 | 8285 | 8327
B6 | 2772 | 499 | 2165 | 2256 | 2165 | 1913 | 2392 | 2697 | 2879 | 2833 | 3448 | 3382 | 3092 | 2692 | 2602 | 3045 | 3344 | 3445
B7 | 611 | 109 | 468 | 500 | 492 | 427 | 519 | 598 | 630 | 608 | 753 | 747 | 683 | 587 | 579 | 680 | 748 | 753
B8 | 211 | 41 | 161 | 168 | 161 | 142 | 176 | 201 | 213 | 208 | 262 | 260 | 239 | 205 | 210 | 242 | 263 | 265
B9 | 75 | 15 | 57 | 58 | 59 | 51 | 64 | 71 | 74 | 71 | 92 | 90 | 84 | 73 | 76 | 90 | 95 | 94
B10 | 27 | 4 | 23 | 22 | 23 | 21 | 23 | 26 | 27 | 26 | 32 | 31 | 29 | 26 | 28 | 30 | 31 | 33
B11 | 14 | 1 | 12 | 12 | 12 | 13 | 13 | 13 | 14 | 14 | 16 | 15 | 15 | 15 | 14 | 15 | 15 | 15
B12 | 8 | 1 | 8 | 8 | 9 | 9 | 10 | 8 | 9 | 9 | 8 | 10 | 7 | 8 | 9 | 6 | 10 | 8
End Time: | 4/30/2024 3:43:10 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) FIL, V_2.00_04/06_FILTER (Apr 5 2006/11.37.11)

## Sheet3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 710005431 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-04-30
Time: | 3:38:18 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 535 | nm
Excitation Bandwidth |  |  |  | 20 | nm
Emission Bandwidth |  |  |  | 25 | nm
Gain |  |  |  | 55 | Calculated From: B1 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B1-B12
Start Time: | 4/30/2024 3:38:25 PM
Temperature: 21.8 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B1 | 36464 | 5162 | 32984 | 33470 | 31589 | 27319 | 31285 | 36824 | 40605 | 41683 | 43932 | 43200 | 39140 | 33001 | 30299 | 36147 | 40340 | 41610
B2 | 20221 | 3056 | 17676 | 18006 | 17085 | 14773 | 17384 | 20210 | 22126 | 22483 | 24387 | 24509 | 22090 | 18445 | 17112 | 20508 | 22929 | 23814
B3 | 18115 | 2855 | 15985 | 16267 | 15396 | 13289 | 15211 | 17852 | 19924 | 20319 | 22297 | 22213 | 19303 | 16154 | 15284 | 18015 | 20537 | 21793
B4 | 12024 | 1956 | 10224 | 10424 | 9805 | 8572 | 10184 | 11898 | 13181 | 13221 | 14857 | 14483 | 12996 | 10954 | 10536 | 12568 | 13993 | 14483
B5 | 6963 | 1157 | 5634 | 5862 | 5620 | 4892 | 5964 | 6921 | 7413 | 7342 | 8512 | 8449 | 7655 | 6651 | 6327 | 7492 | 8217 | 8456
B6 | 2822 | 476 | 2283 | 2352 | 2244 | 1984 | 2450 | 2776 | 2956 | 2942 | 3490 | 3418 | 3122 | 2712 | 2592 | 3026 | 3348 | 3457
B7 | 621 | 105 | 490 | 517 | 507 | 440 | 536 | 616 | 648 | 617 | 760 | 758 | 689 | 586 | 577 | 682 | 746 | 762
B8 | 214 | 40 | 166 | 175 | 169 | 145 | 179 | 205 | 218 | 211 | 265 | 262 | 240 | 208 | 210 | 246 | 263 | 265
B9 | 76 | 14 | 59 | 61 | 58 | 54 | 65 | 72 | 74 | 72 | 91 | 92 | 85 | 74 | 77 | 90 | 96 | 94
B10 | 27 | 4 | 23 | 23 | 23 | 22 | 23 | 26 | 28 | 27 | 33 | 32 | 29 | 26 | 28 | 31 | 32 | 33
B11 | 14 | 1 | 13 | 13 | 13 | 13 | 14 | 14 | 15 | 14 | 16 | 15 | 15 | 15 | 15 | 15 | 16 | 16
B12 | 8 | 1 | 8 | 8 | 9 | 9 | 9 | 9 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 7
End Time: | 4/30/2024 3:40:40 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) FIL, V_2.00_04/06_FILTER (Apr 5 2006/11.37.11)

## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 710005431 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-04-30
Time: | 3:35:45 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 535 | nm
Excitation Bandwidth |  |  |  | 20 | nm
Emission Bandwidth |  |  |  | 25 | nm
Gain |  |  |  | 54 | Calculated From: B1 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B1-B12
Start Time: | 4/30/2024 3:35:53 PM
Temperature: 21.8 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B1 | 33786 | 4828 | 30164 | 30635 | 29153 | 25127 | 29059 | 34136 | 37622 | 38249 | 40267 | 40532 | 36589 | 31011 | 28189 | 33617 | 37349 | 38879
B2 | 18760 | 2852 | 16180 | 16616 | 15786 | 13564 | 16146 | 18833 | 20509 | 20918 | 22510 | 22855 | 20555 | 17274 | 16010 | 19176 | 21456 | 21772
B3 | 16763 | 2564 | 14708 | 15001 | 14385 | 12364 | 14092 | 16668 | 18532 | 18864 | 20751 | 19982 | 17956 | 14998 | 14243 | 16823 | 18989 | 19844
B4 | 11153 | 1768 | 9497 | 9713 | 9140 | 7979 | 9454 | 11072 | 12153 | 12187 | 13598 | 13439 | 12152 | 10276 | 9815 | 11700 | 12979 | 13299
B5 | 6507 | 1082 | 5207 | 5511 | 5278 | 4583 | 5588 | 6487 | 6976 | 6775 | 7929 | 7920 | 7232 | 6199 | 5891 | 6952 | 7793 | 7797
B6 | 2648 | 441 | 2150 | 2222 | 2130 | 1868 | 2297 | 2606 | 2769 | 2743 | 3254 | 3231 | 2949 | 2519 | 2430 | 2834 | 3142 | 3220
B7 | 582 | 96 | 458 | 494 | 484 | 414 | 500 | 580 | 606 | 578 | 708 | 711 | 648 | 552 | 537 | 636 | 695 | 705
B8 | 200 | 37 | 157 | 163 | 157 | 135 | 168 | 193 | 202 | 198 | 247 | 247 | 226 | 193 | 192 | 225 | 246 | 246
B9 | 71 | 13 | 56 | 57 | 55 | 50 | 61 | 66 | 70 | 69 | 87 | 87 | 82 | 70 | 69 | 83 | 88 | 87
B10 | 25 | 3 | 21 | 22 | 21 | 20 | 23 | 24 | 24 | 23 | 29 | 29 | 26 | 24 | 24 | 27 | 30 | 30
B11 | 13 | 1 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 14 | 13 | 13 | 13 | 13 | 14 | 14 | 14
B12 | 8 | 1 | 8 | 7 | 8 | 8 | 7 | 9 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
End Time: | 4/30/2024 3:38:09 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) FIL, V_2.00_04/06_FILTER (Apr 5 2006/11.37.11)