## Sheet5
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-31
Time: | 1:32:12 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 72 | Calculated From: B5 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B4-B5
Start Time: | 5/31/2024 1:32:23 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B4 | 18364 | 9033 | 12975 | 11100 | 6199 | 18447 | 18598 | 10074 | 13489 | 14904 | 20556 | 24467 | 14647 | 14854 | 14297 | 22985 | 39394 | 36839
B5 | 4214 | 537 | 3572 | 3612 | 4171 | 5041 | 5021 | 4074 | 3589 | 3629 | 3936 | 3773 | 4151 | 4996 | 4913 | 4466 | 4132 | 4342
End Time: | 5/31/2024 1:32:51 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-31
Time: | 1:28:30 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 99 | Calculated From: B5 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B4-B5
Start Time: | 5/31/2024 1:28:41 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(16)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B4 | INVALID | INVALID | 39925 | 46004 | OVER | 60098 | OVER | OVER | 60387 | 40632 | 41252 | OVER | OVER | OVER | OVER | OVER | OVER | 41691
B5 | 37329 | 8433 | 47141 | 33013 | 30220 | 33549 | 32401 | 29650 | 32809 | 47704 | 51471 | 35018 | 30383 | 31773 | 33992 | 33215 | 38578 | 56346
End Time: | 5/31/2024 1:29:09 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-31
Time: | 1:24:02 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 110 | Calculated From: B5 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B4-B5
Start Time: | 5/31/2024 1:24:15 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(16)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B4 | 41475 | 1963 | 45485 | 42129 | 41885 | 41197 | 40242 | 39719 | 41568 | 45912 | 43275 | 40590 | 39608 | 40223 | 39958 | 40211 | 39600 | 42001
B5 | INVALID | INVALID | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | 59309
End Time: | 5/31/2024 1:24:43 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)

## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200 |  |  |  | Serial number: 1007001499 |  |  |  | Serial number of connected stacker:
Firmware: V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) |  |  |  | MAI, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16)
Date: | 2024-05-31
Time: | 1:08:36 PM
System |  |  |  | NSM-PW0B0LDP
User |  |  |  | NSM-PW0B0LDP\Worrell Lab
Plate |  |  |  | BTW 21 Flat Bottom Black PLA Worrell lab custom 19 well plate [Thermal control 19 well plate.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 1000 | µm
Excitation Wavelength |  |  |  | 380 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 40 | nm
Emission Bandwidth |  |  |  | 40 | nm
Gain |  |  |  | 109 | Calculated From: B4 (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B4-B5
Start Time: | 5/31/2024 1:08:48 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: -- °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
B4 | 37847 | 2141 | 44294 | 39588 | 37651 | 38040 | 37277 | 37291 | 37924 | 40309 | 38492 | 36258 | 36229 | 36279 | 36520 | 36739 | 35389 | 37267
B5 | INVALID | INVALID | 47876 | OVER | OVER | OVER | OVER | OVER | OVER | 51368 | 49126 | OVER | OVER | OVER | OVER | 52852 | 46362 | 39961
End Time: | 5/31/2024 1:09:16 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) MTP, V_2.02_11/06_InfiniTe (Dec 13 2006/16.18.16) FIL, V_2.04_10/09_FILTER (Oct 27 2009/11.34.49)